Dear Mr Khan

Polite reminder I have still not received a satisfactory answer from you ref

1.The external football pitch and changing rooms.

2. The  Storage water tank under the football pitch

3. The Class 1 Petrol/Oil Separator next to Manhole #13 on the attached drawings.

4. The rainwater Harvesting Tank shown on the attached drawings.

5.These drawings do not indicate any GREASE TRAPS outside the Kitchen Area?

This drawing indicates the  Playgound run-off water will be drained into the existing Pond which cannot be correct.

I would be most grateful if you would now elevate these matters to your Immediate Line Manager.It should also be noted this attached drawing was sent to me as an AS BUILT DRAWING and you can clearly see it is NOT an As Built Drawing but is a PROPOSED drawing.

With thanks

Yours sincerely

Alan M Dransfield

No virus found in this message.
Checked by AVG - www.avg.com
Version: 2013.0.2904 / Virus Database: 3204/6467 - Release Date: 07/05/13