6. Preparation of Flongle Flow Cell (R.10.4.1) and Flow Cell Check

- Insert the Flongle Adapter in the MinION (Wear gloves to avoid contaminations!)

Open MinION and take out the configuration test cell (CTC).

|  |  | Take CTC protection out of the Flongle adapter. Push the Flongle adapter under the stainless steel clip till it snaps in place. |
| --- | --- | --- |

Click on the picture to see a movie about 
the procedure.

Alternative: 	Open following link in your 			browser https://www.youtube.com/embed/Wnx59DhrUe8?feature=oembed

- Connect MinION with the PC

|  | Connect PC with MinION by USB cable. MinION gets access to electricity and LED is shining red. |
| --- | --- |

- Insert Flongle Flow Cell R.10.4.1 in the Flow Cell Adapter

|  |  | Push the Flongle Flow Cell in arrow direction under the stainless steel clip of the MinION and press it down on the other side. with a click Flongle Flow Cell snapps in. |
| --- | --- | --- |

- By a double click MinKNOW program is started. 
Log in with your Nanopore account (Email and password).

|  | Click the following link to log in Nanopore homepage: https://community.nanoporetech.com/support Log in with your Email and password. |  |
| --- | --- | --- |

- Select in the Connection Manager the sequencing device which is connected to your PC.

|  |  | In the sequencing overview Flongle Flow Cell is shown. |
| --- | --- | --- |

- Navigate to Start and select „Flow Cell Check“

|  |  | Click button Flow Cell Check. |
| --- | --- | --- |

- Add Flongle Flow Cell ID and select Flongle Flow Cell Type R.10.4.1

|  |  | Add Flongle Flow Cell ID (3 letters and 3 numbers without a space). Select Flow Cell type R.10.4.1 Click on start Flow Cell Check. |
| --- | --- | --- |

Flow Cell Check takes some minutes.

Click on Experiments and the current Flow Cell Check to see parameters (temperature, voltage, available pores) during the Check:

At the end of the Flow Cell Check one of the 3 following results will be shown:

A result of the Flongle Flow Cell check with more than 50 pores abailable is fine. 
 The green arrow shows „Ready for sequencing”

Next step is priming the Flow Cell.